## Pt.3 - U S Of STP 21-22
Licence point 3 - Water Quality Monitoring 100m upstream of Pt. 2 discharge
EPA licence number: 2866 |  |  |  | Sampling frequency: Monthly
Harden Sewerage Scheme |  |  |  | Sampling method: Grab sample
ALS Sample Point: HARD010 |  |  |  | Requirement to monitor concentration of pollutants discharged as per Licence Condition M2.1
Reporting year: 2025-2026
|  |  | Pollutant | pH | Electrical Conductivity @ 25°C | Total Dissolved Solids (TDS) | Total Suspended Solids (TSS) | Oil and Grease | Biochemical Oxygen Demand (BOD) | Ammonia as N | Nitrite + Nitrate as N | Total Nitrogen as N | Total Phosphorus as P | Thermotolerant Faecal Coliforms (Confirmed) | Thermotolerant Faecal Coliforms (Presumptive)
|  |  | Units of measure | pH Unit | µS/cm | mg/L | mg/L | mg/L | mg/L | mg/L | mg/L | mg/L | mg/L | CFU/100mL | CFU/100mL
|  |  | Licence Limit | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a
Sample date | Date results obtained | Date results published | [13 empty] | Comments
2020-08-19 | 2020-08-25 | 2020-08-30 |  | 8.1 | 1240 | 800 | 8 | 0 | <2 | 0.1 | 0.76 | 1.48 | 0.1 | 248 | 248
2020-09-16 | 2020-09-22 | 2020-09-28 |  | 8.29 | 1830 | 1050 | 7 | 0 | <2 | 0.1 | 0.59 | 1.06 | 0.03 | 78 | 78
2020-10-21 | 2020-10-30 | 2020-11-04 |  | 8.15 | 1820 | 1100 | 5 | 0 | <2 | 0.1 | 0.57 | 1.12 | 0.06 | 610 | 610
2020-11-20 | 2020-12-01 | 2020-12-02 |  | 8.11 | 1740 | 1040 | 3 | 0 | <2 | 0.1 | 0.66 | 1.17 | 0.07 | 1120 | 1120
2020-12-15 | 2020-12-24 | 2021-01-06 |  | 8.19 | 1670 | 922 | 5 | 0 | <2 | 0.1 | 0.85 | 1.1 | 0.05 | 1230 | 984
2021-01-06 | 2021-01-15 | 2021-01-20 |  | 8.18 | 1500 | 841 | 6 | 0 | <2 | 0.1 | 0.78 | 1.33 | 0.15 | 920 | 736
2021-02-02 | 2021-02-10 | 2021-02-15 |  | 8.09 | 1160 | 679 | 19 | 0 | <2 | 0.1 | 0.58 | 1.63 | 0.33 | 2900 | 2900
2021-03-03 | 2021-03-16 | 2021-03-23 |  | 8.27 | 1740 | 1040 | 13 | 0 | <2 | 0.1 | 1.26 | 1.93 | 0.12 | 500 | 500
2021-04-08 | 2021-04-19 | 2021-04-28 |  | 8.14 | 1880 | 1010 | 8 | 0 | <2 | 0.1 | 1.35 | 1.58 | 0.12 | 700 | 700
2021-05-04 | 2021-05-13 | 2021-05-20 |  | 8.13 | 1710 | 1080 | 4 | 0 | 2 | 0.1 | 1.29 | 1.66 | 0.1 | 900 | 900
2021-06-03 | 2021-06-16 | 2021-06-23 |  | 8.15 | 1720 | 1060 | 7 | 0 | <2 | 0.1 | 1.26 | 1.66 | 0.06 | 380 | 380
2021-07-07 | 2021-07-14 | 2021-07-21 |  | 7.97 | 1890 | 1040 | <2 | 0 | <2 | 0.1 | 1.17 | 1.58 | 0.07 | 160 | 160
2021-08-06 | 2021-08-06 | 2021-08-17 |  | 7.98 | 1450 | 914 | 6 | <1 | <2 | <0.1 | 0.96 | 1.62 | 0.05 | 170 | 170
2021-09-01 | 2021-09-10 | 2021-09-15 |  | 8.29 | 1510 | 901 | 5 | 2 | <2 | <0.1 | 1.09 | 1.6 | 0.06 | 30 | 30
2021-10-07 | 2021-10-15 | 2021-10-21 |  | 8.4 | 1400 | 908 | 5 | <1 | <2 | <0.1 | 0.76 | 1.68 | 0.09 | 102 | 102
2021-11-02 | 2021-11-11 | 2021-11-20 |  | 8.29 | 1710 | 981 | 5 | ,1 | <2 | <0.1 | 1.08 | 1.39 | 0.08 | 214 | 214
2021-12-01 | 2021-12-10 | 2021-12-15 |  | 8.1 | 1350 | 812 | 12 | <1 | <2 | <0.1 | 0.86 | 1.61 | 0.14 | 600 | 600
2022-01-05 | 2022-01-14 | 2022-01-20 |  | 8.27 | 1710 | 1060 | 4 | <1 | <2 | <0.1 | 1 | 1.55 | 0.13 | 420 | 252
2021-02-01 | 2022-02-10 | 2022-02-10 |  | 8.15 | 1410 | 915 | 21 | <1 | <2 | <0.1 | 0.8 | 1.7 | 0.31 | 1540 | 1540
2022-03-01 | 2022-03-10 | 2022-03-20 |  | 8.21 | 1710 | 1100 | 10 | <1 | <2 | <0.1 | 1.21 | 1.81 | 0.15 | 680 | 680
2022-04-12 | 2022-04-12 | 2022-04-20 |  | 8.12 | 1820 | 1130 | 8 | <1 | <2 | <0.1 | 1.56 | 1.75 | 0.12 | 342 | 342
2022-05-05 | 2022-05-16 | 2022-05-20 |  | 8.24 | 1800 | 961 | 9 | <1 | <2 | <0.1 | 1.22 | 1.74 | 0.13 | 440 | 440
2022-06-02 | 2022-06-20 | 2022-06-25 |  | 8.12 | 1590 | 1080 | 5 | <1 | <2 | 0.1 | 0.86 | 1.36 | 0.12 | 410 | 410
2022-07-05 | 2022-07-14 | 2022-07-20 |  | 8.2 | 1630 | 898 | 9 | <1 | <2 | <0.1 | 1.18 | 2.06 | 0.14 | 130 | 130
2025-07-01 | 2025-07-09 | 2025-07-10 |  | 8.32 | 1730 | 988 | 4 | <1 | <2 | <0.1 | 1.77 | 2.45 | 0.06 | 104 | 104
2025-08-04 | 2025-08-11 | 2025-08-12 |  | 8.55 | 1770 | 1030 | 8 | <1 | <2 | <0.1 | 1.48 | 2.06 | 0.08 | 280 | 280
|  |  | Min | 8.32 | 1730 | 988 | 4 | 0 | 0 | 0 | 1.48 | 2.06 | 0.06 | 104 | 104
|  |  | Max | 8.55 | 1770 | 1030 | 8 | 0 | 0 | 0 | 1.77 | 2.45 | 0.08 | 280 | 280
|  |  | Mean | 8.435 | 1750 | 1009 | 6 | #DIV/0! | #DIV/0! | #DIV/0! | 1.625 | 2.255 | 0.07 | 192 | 192