## REDHILL BORE 1
Licence point- Young Landfills- REDHILL BORE 1
EPA licence number: |  | 5915 | Sample ID: YREDTB01
Reporting year:2025-2026
|  |  |  | Depth to water level | Depth to water level sampling | pH | Electrical conductivity | Hydroxide Alkalinity as CaCO3 | Carbonate Alkalinity as CaCO3 | Bicarbonate Alkalinity as CaCO3 | Total Alkalinity as CaCO3 | Suspended Solids | Biochemical Oxygen Demend | Ammonia as N | Nitrite as N | Ø Nitrate as N | Nitrite + Nitrate as N
|  |  | Units of measure | m | m | pH unit | µS/cm | mg/L | mg/L | mg/L | mg/L | mg/L | mg/L | mg/L N | mh/L N | mh/L N | mh/L N
Sample date | Analysis commenced | Results issued date
2025-09-10 | 2025-09-10 | 2025-09-17 |  | 1.59 | 1.66 | 7.18 | 1230 | <0.1 | <0.1 | 265 | 265 | 302 | <2 | <0.1 | <0.01 | 0.28 | 0.28
`
|  |  | Min | 1.59 | 1.66 | 7.18 | 1230 | 0 | 0 | 265 | 265 | 302 | 0 | 0 | 0 | 0.28 | 0.28
|  |  | Max | 1.59 | 1.66 | 7.18 | 1230 | 0 | 0 | 265 | 265 | 302 | 0 | 0 | 0 | 0.28 | 0.28
|  |  | Mean | 1.59 | 1.66 | 7.18 | 1230 | #DIV/0! | #DIV/0! | 265 | 265 | 302 | #DIV/0! | #DIV/0! | #DIV/0! | 0.28 | 0.28

## REDHILL DAM 1
Licence point- Young Landfills- REDHILL DAM 1
EPA licence number: |  | 5915 | Sample ID: YREDTD01
Reporting year:2025-2026
|  |  |  | Depth to water level | Depth to water level sampling | pH | Electrical conductivity | Hydroxide Alkalinity as CaCO3 | Carbonate Alkalinity as CaCO3 | Bicarbonate Alkalinity as CaCO3 | Total Alkalinity as CaCO3 | Suspended Solids | Biochemical Oxygen Demend | Ammonia as N | Nitrite as N | Ø Nitrate as N | Nitrite + Nitrate as N
|  |  | Units of measure | m | m | pH unit | µS/cm | mg/L | mg/L | mg/L | mg/L | mg/L | mg/L | mg/L N | mh/L N | mh/L N | mh/L N
Sample date | Analysis commenced | Results issued date
2025-09-10 | 2025-09-10 | 2025-09-17 |  | … | … | 8.02 | 2050 | <0.1 | <0.1 | 677 | 677 | 9 | 2 | 4.5 | 0.08 | 0.12 | 0.2
|  |  |  | … | …
|  |  |  | … | …
`
|  |  | Min | 0 | 0 | 8.02 | 2050 | 0 | 0 | 677 | 677 | 9 | 2 | 4.5 | 0.08 | 0.12 | 0.2
|  |  | Max | 0 | 0 | 8.02 | 2050 | 0 | 0 | 677 | 677 | 9 | 2 | 4.5 | 0.08 | 0.12 | 0.2
|  |  | Mean | #DIV/0! | #DIV/0! | 8.02 | 2050 | #DIV/0! | #DIV/0! | 677 | 677 | 9 | 2 | 4.5 | 0.08 | 0.12 | 0.2

## VICT BORE 1
Licence point- Young Landfills- VICT BORE 1
EPA licence number: |  | 5916 | Sample ID: YVICTB01
Reporting year:2025-2026
|  |  |  | Depth to water level | Depth to water level sampling | pH | Electrical conductivity | Hydroxide Alkalinity as CaCO3 | Carbonate Alkalinity as CaCO3 | Bicarbonate Alkalinity as CaCO3 | Total Alkalinity as CaCO3 | Suspended Solids | Biochemical Oxygen Demend | Ammonia as N | Nitrate as N | Ø Nitrate as N | Nitrite + Nitrate as N
|  |  | Units of measure | m | m | pH unit | µS/cm | mg/L | mg/L | mg/L | mg/L | mg/L | mg/L | mg/L N | mh/L N | mh/L N | mh/L N
Sample date | Analysis date | Results issued date
2025-09-10 | 2025-09-10 | 2025-09-17 |  | 11.3 | 11.4 | 6.7 | 3170 | <0.1 | <0.1 | 654 | 654 | 11 | <2 | <0.1 | <0.01 | 0.06 | 0.06
|  |  | Min | 11.3 | 11.4 | 6.7 | 3170 | 0 | 0 | 654 | 654 | 11 | 0 | 0 | 0 | 0.06 | 0.06
|  |  | Max | 11.3 | 11.4 | 6.7 | 3170 | 0 | 0 | 654 | 654 | 11 | 0 | 0 | 0 | 0.06 | 0.06
|  |  | Mean | 11.3 | 11.4 | 6.7 | 3170 | #DIV/0! | #DIV/0! | 654 | 654 | 11 | #DIV/0! | #DIV/0! | #DIV/0! | 0.06 | 0.06

## VICT BORE 2
Licence point- Young Landfills- VICT BORE 2
EPA licence number: |  | 5916 | Sample ID: YVICTB02
Reporting year:2025-2026
|  |  |  | Depth to water level | Depth to water level sampling | pH | Electrical conductivity | Hydroxide Alkalinity as CaCO3 | Carbonate Alkalinity as CaCO3 | Bicarbonate Alkalinity as CaCO3 | Total Alkalinity as CaCO3 | Suspended Solids | Biochemical Oxygen Demend | Ammonia as N | Nitrate as N | Ø Nitrate as N | Nitrite + Nitrate as N
|  |  | Units of measure | m | m | pH unit | µS/cm | mg/L | mg/L | mg/L | mg/L | mg/L | mg/L | mg/L N | mh/L N | mh/L N | mh/L N
Sample date | Analysis date | Results issued date
2025-09-10 | 2025-09-10 | 2025-09-17 |  | 6.48 | 6.73 | 7.07 | 1030 | <0.1 | <0.1 | 292 | 292 | 52 | <2 | <0.1 | <0.01 | <0.05 | <0.05
|  |  | Min | 6.48 | 6.73 | 7.07 | 1030 | 0 | 0 | 292 | 292 | 52 | 0 | 0 | 0 | 0 | 0
|  |  | Max | 6.48 | 6.73 | 7.07 | 1030 | 0 | 0 | 292 | 292 | 52 | 0 | 0 | 0 | 0 | 0
|  |  | Mean | 6.48 | 6.73 | 7.07 | 1030 | #DIV/0! | #DIV/0! | 292 | 292 | 52 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!

## VICT BORE 3
Licence point- Young Landfills- VICT BORE 3
EPA licence number: |  | 5916 | Sample ID: YVICTB03
Reporting year:2025-2026
|  |  |  | Depth to water level | Depth to water level sampling | pH | Electrical conductivity | Hydroxide Alkalinity as CaCO3 | Carbonate Alkalinity as CaCO3 | Bicarbonate Alkalinity as CaCO3 | Total Alkalinity as CaCO3 | Suspended Solids | Biochemical Oxygen Demend | Ammonia as N | Nitrate as N | Ø Nitrate as N | Nitrite + Nitrate as N
|  |  | Units of measure | m | m | pH unit | µS/cm | mg/L | mg/L | mg/L | mg/L | mg/L | mg/L | mg/L N | mh/L N | mh/L N | mh/L N
Sample date | Analysis date | Results issued date
2025-09-10 | 2025-09-10 | 2025-09-17 |  | 7.24 | 7.95 | 6.93 | 2170 | <0.1 | <0.1 | 355 | 355 | 9 | <2 | 0.1 | 0.14 | 31.7 | 31.8
|  |  | Min | 7.24 | 7.95 | 6.93 | 2170 | 0 | 0 | 355 | 355 | 9 | 0 | 0.1 | 0.14 | 31.7 | 31.8
|  |  | Max | 7.24 | 7.95 | 6.93 | 2170 | 0 | 0 | 355 | 355 | 9 | 0 | 0.1 | 0.14 | 31.7 | 31.8
|  |  | Mean | 7.24 | 7.95 | 6.93 | 2170 | #DIV/0! | #DIV/0! | 355 | 355 | 9 | #DIV/0! | 0.1 | 0.14 | 31.7 | 31.8

## LEACHATE DAM 1
Licence point- Young Landfills- LEACHATE DAM1
EPA licence number: |  |  | Sample ID: YVICTLD01
Reporting year:2025-2026
|  |  |  | Depth to water level | Depth to water level sampling | pH | Electrical conductivity | Hydroxide Alkalinity as CaCO3 | Carbonate Alkalinity as CaCO3 | Bicarbonate Alkalinity as CaCO3 | Total Alkalinity as CaCO3 | Suspended Solids | Biochemical Oxygen Demend | Ammonia as N | Nitrate as N | Ø Nitrate as N | Nitrite + Nitrate as N
|  |  | Units of measure | m | m | pH unit | µS/cm | mg/L | mg/L | mg/L | mg/L | mg/L | mg/L | mg/L N | mh/L N | mh/L N | mh/L N
Sample date | Analysis date | Results issued date
2025-09-10 | 2025-09-10 | 2025-09-17 |  |  |  | 7.15 | 952 | <0.1 | <0.1 | 164 | 164 | 8 | <2 | 1.3 | 0.02 | <0.05 | <0.05
|  |  | Min | 0 | 0 | 7.15 | 952 | 0 | 0 | 164 | 164 | 8 | 0 | 1.3 | 0.02 | 0 | 0
|  |  | Max | 0 | 0 | 7.15 | 952 | 0 | 0 | 164 | 164 | 8 | 0 | 1.3 | 0.02 | 0 | 0
|  |  | Mean | #DIV/0! | #DIV/0! | 7.15 | 952 | #DIV/0! | #DIV/0! | 164 | 164 | 8 | #DIV/0! | 1.3 | 0.02 | #DIV/0! | #DIV/0!