## Pt. 1 - Discharge (quality)
Licence point 1 - Quality Monitoring of discharge to waters (outlet to Boorowa River via irrigation channel)
EPA licence number: 1678 |  |  |  | Sampling frequency: monthly during discharge
Boorowa Sewerage Scheme |  |  |  | Sampling method: Grab sample
ALS Sample Point: |  |  |  | Requirement to monitor concentration of pollutants discharged as per Licence Condition M2.1
Reporting year: 2025-2026
View this licence: |  | http://app.epa.nsw.gov.au/prpoeoapp/ViewPOEOLicence.aspx?DOCID=78877&SYSUID=1&LICID=1678
|  |  |  | Pollutant | Total Suspended Solids (TSS) | Oil and Grease | Biochemical Oxygen Demand (BOD)
|  |  |  | Units of measure | mg/L | mg/L | mg/L
|  |  |  | Licence Limit | 30 | 10 | 20
Sample date | Date analysis started | Date results obtained | Date results published |  |  |  |  | Comments
2021-05-27 | 2021-05-28 | 2021-06-09 | 2021-06-12 |  |  |  |  | No water discharge to the environment
2021-06-23 | 2021-06-24 | 2021-06-30 | 2021-07-07 |  |  |  |  | No water discharge to the environment
2021-07-27 | 2021-07-28 | 2021-08-03 | 2021-08-12 |  | 9 | <1 | <2
2021-08-26 | 2021-08-27 | 2021-09-02 | 2021-09-10 |  |  |  |  | No water discharge to the environment
2021-09-23 | 2021-09-24 | 2021-10-06 | 2021-10-11 |  |  |  |  | No water discharge to the environment
2021-10-26 | 2021-10-29 | 2021-11-09 | 2021-11-15 |  |  |  |  | No water discharge to the environment
2021-11-22 | 2021-11-23 | 2021-12-02 | 2021-12-14 |  |  |  |  | No water discharge to the environment
2021-12-14 | 2021-12-14 | 2021-12-23 | 2021-01-12 |  |  |  |  | No water discharge to the environment
2022-01-18 | 2022-01-19 | 2022-01-25 | 2022-02-01 |  |  |  |  | No water discharge to the environment
2022-02-24 | 2022-02-25 | 2022-03-08 | 2022-03-10 |  |  |  |  | No water discharge to the environment
2022-03-22 | 2022-03-23 | 2022-03-31 | 2022-04-01 |  |  |  |  | No water discharge to the environment
2022-04-04 | 2022-04-06 | 2022-04-13 | 2022-04-16 |  |  |  |  | No water discharge to the environment
2025-07-14 | 2025-07-16 | 2025-07-23 | 2025-08-05 |  |  |  |  | No water discharge to the environment
2025-08-13 | 2025-08-14 | 2025-08-22 | 2025-09-02 |  |  |  |  | No water discharge to the environment
|  |  |  | Min | 0 | 0 | 0
|  |  |  | Max | 0 | 0 | 0
|  |  |  | Mean | #DIV/0! | #DIV/0! | #DIV/0!