## point 10 ds
Licence point 10 - Environmental monitoring 500m downstream of outlet of pipe from sewage treatment plant discharging to Burrangong Creek
EPA licence number: 1624 | [8 empty] | Sampling Frequency: Monthly
Young Sewerage Scheme | [8 empty] | Sampling Method: Grab sample
Reporting year 2025-2026 | [8 empty] | Requirement to monitor concentration of pollutants discharged as per Licence Condition M2.1
|  |  | Pollutant | pH | Total Suspended Solid (TSS) | Oil and Grease (O&G) | Biological Oxygen Demand (BOD) | Ammonia as Nitrogen (NH3-N) | Total Nitrogen (TN) | Total Phosporus (TP) | Faecal Coliforms (FC)
|  |  | Units of measure | - | mg/L | mg/L | mg/L | mg/L | mg/L | mg/L | CFU/100ml
Sample date | Date results obtained | Date results published | [9 empty] | Comments
2025-07-09 | 2025-07-18 | 2025-08-05 |  | 7.93 | 6 | <1 | <2 | <0.1 | 1.09 | 0.06 | 102
2025-08-13 | 2025-08-14 | 2025-09-02 |  | 8.16 | 3 | <1 | <2 | <0.1 | 1 | 0.07 | 66
2025-09-16 | 2025-09-17 | 2025-10-01 |  | 8.09 | 10 | <1 | <2 | <0.1 | 0.94 | 0.06 | 148
2025-10-21 | 2025-10-29 | 2025-11-04 |  | 7.97 | 20 | <1 | <2 | <0.1 | 0.84 | 0.07 | 1700
2025-11-28 | 2025-12-08 | 2025-12-09 |  | 7.96 | 16 | <1 | <2 | <0.1 | 0.74 | 0.09 | 920
2025-12-09 | 2025-12-16 | 2026-01-15 |  | 7.71 | 10 | <1 | <2 | <0.1 | 1.14 | 0.1 | 980
2026-01-06 | 2026-01-14 | 2026-02-02 |  | 7.99 | 11 | <1 | <2 | <0.1 | 0.39 | 0.11 | -
2026-02-27 | 2026-03-10 | 2026-03-10 |  | 7.89 | 7 | <1 | <2 | <0.1 | 0.38 | 0.12 | 3160
|  |  | Min | 7.71 | 3 | 0 | 0 | 0 | 0.38 | 0.06 | 66
|  |  | Max | 8.16 | 20 | 0 | 0 | 0 | 1.14 | 0.12 | 3160
|  |  | Mean | 7.9625 | 10.375 | #DIV/0! | #DIV/0! | #DIV/0! | 0.815 | 0.085 | 1010.8571