## point 9 us
Licence point 9 - Environmental monitoring 500m upstream of outlet of pipe from sewage treatment plant discharging to Burrangong Creek
EPA licence number: 1624 | [8 empty] | Sampling Frequency: Monthly
Young Sewerage Scheme | [8 empty] | Sampling Method: Grab sample
Reporting year 2025-2026 | [8 empty] | Requirement to monitor concentration of pollutants discharged as per Licence Condition M2.1
|  |  | Pollutant | pH | Total Suspended Solid (TSS) | Oil and Grease (O&G) | Biological Oxygen Demand (BOD) | Ammonia as Nitrogen (NH3-N) | Total Nitrogen (TN) | Total Phosporus (TP) | Faecal Coliforms (FC)
|  |  | Units of measure | - | mg/L | mg/L | mg/L | mg/L | mg/L | mg/L | CFU/100ml
Sample date | Date results obtained | Date results published | [9 empty] | Comments
2025-07-09 | 2025-07-18 | 2025-08-05 |  | 7.92 | 7 | <1 | <2 | <0.1 | 0.78 | 0.03 | 228
2025-08-13 | 2025-08-14 | 2025-09-02 |  | 8.14 | 4 | <1 | <2 | <0.1 | 0.68 | 0.05 | 182
2025-09-16 | 2025-09-17 | 2025-10-01 |  | 8.07 | 13 | <1 | <2 | <0.1 | 0.72 | 0.04 | 146
2025-10-21 | 2025-10-29 | 2025-11-04 |  | 7.96 | 11 | <1 | <2 | <0.1 | 0.51 | 0.04 | 1020
2025-11-28 | 2025-12-08 | 2025-12-09 |  | 7.91 | 16 | <1 | <2 | <0.1 | 0.64 | 0.05 | 680
2025-12-09 | 2025-12-16 | 2026-01-15 |  | 7.61 | 10 | <1 | <2 | <0.1 | 0.32 | 0.04 | 360
2026-01-06 | 2026-01-14 | 2026-02-02 |  | 7.92 | 13 | <1 | <2 | <0.1 | 0.32 | 0.06 | 280
2026-02-27 | 2026-03-10 | 2026-03-10 |  | 7.89 | 23 | <1 | <2 | <0.1 | 0.36 | 0.06 | 2880
2026-03-23 | 2026-03-24 | 2026-06-02 | ` | 7.59 | 28 | <1 | <2 | <0.1 | 1.13 | 0.12 | 16200
2026-04-07 | 2026-04-08 | 2026-06-02 |  | 7.89 | 9 | <1 | <2 | <0.1 | 0.51 | 0.06 | 1200
|  |  | Min | 7.59 | 4 | 0 | 0 | 0 | 0.32 | 0.03 | 146
|  |  | Max | 8.14 | 28 | 0 | 0 | 0 | 1.13 | 0.12 | 16200
|  |  | Mean | 7.89 | 13.4 | #DIV/0! | #DIV/0! | #DIV/0! | 0.597 | 0.055 | 2317.6