## REDHILL BORE 1
Licence point- Young Landfills- REDHILL BORE 1
EPA licence number: |  | 5915 | Sample ID: YREDTB01
Reporting year:2025-2026
|  |  |  | Depth to water level | Depth to water level sampling | pH | Electrical conductivity | Hydroxide Alkalinity as CaCO3 | Carbonate Alkalinity as CaCO3 | Bicarbonate Alkalinity as CaCO3 | Total Alkalinity as CaCO3 | Suspended Solids | Biochemical Oxygen Demend | Ammonia as N | Nitrite as N | Ø Nitrate as N | Nitrite + Nitrate as N
|  |  | Units of measure | m | m | pH unit | µS/cm | mg/L | mg/L | mg/L | mg/L | mg/L | mg/L | mg/L N | mh/L N | mh/L N | mh/L N
Sample date | Analysis commenced | Results issued date
2025-09-10 | 2025-09-10 | 2025-09-17 |  | 1.59 | 1.66 | 7.18 | 1230 | <0.1 | <0.1 | 265 | 265 | 302 | <2 | <0.1 | <0.01 | 0.28 | 0.28
2025-12-03 | 2025-12-04 | 2025-12-12 |  | 1.86 | 1.95 | 7.35 | 1430 | <0.1 | <0.1 | 389 | 389 | 152 | <2 | <0.1 | <0.01 | 0.08 | 0.08
2026-05-12 | 2026-05-13 | 2026-05-22 |  | 1.7 | 1.83 | 7.09 | 1260 | <0.1 | <0.1 | 350 | 350 | 73 | <2 | <0.1 | <0.01 | <0.05 | <0.05
2026-06-22 | 2026-06-23 | 2026-06-30 |  | 1.35 | 1.39 | 6.83 | 844 | <0.1 | <0.1 | 232 | 232 | 216 | <2 | <0.1 | <0.01 | 1.97 | 1.97
`
|  |  | Min | 1.35 | 1.39 | 6.83 | 844 | 0 | 0 | 232 | 232 | 73 | 0 | 0 | 0 | 0.08 | 0.08
|  |  | Max | 1.86 | 1.95 | 7.35 | 1430 | 0 | 0 | 389 | 389 | 302 | 0 | 0 | 0 | 1.97 | 1.97
|  |  | Mean | 1.625 | 1.7075 | 7.1125 | 1191 | #DIV/0! | #DIV/0! | 309 | 309 | 185.75 | #DIV/0! | #DIV/0! | #DIV/0! | 0.77667 | 0.77667

## REDHILL DAM 1
Licence point- Young Landfills- REDHILL DAM 1
EPA licence number: |  | 5915 | Sample ID: YREDTD01
Reporting year:2025-2026
|  |  |  | Depth to water level | Depth to water level sampling | pH | Electrical conductivity | Hydroxide Alkalinity as CaCO3 | Carbonate Alkalinity as CaCO3 | Bicarbonate Alkalinity as CaCO3 | Total Alkalinity as CaCO3 | Suspended Solids | Biochemical Oxygen Demend | Ammonia as N | Nitrite as N | Ø Nitrate as N | Nitrite + Nitrate as N
|  |  | Units of measure | m | m | pH unit | µS/cm | mg/L | mg/L | mg/L | mg/L | mg/L | mg/L | mg/L N | mh/L N | mh/L N | mh/L N
Sample date | Analysis commenced | Results issued date
2025-09-10 | 2025-09-10 | 2025-09-17 |  | … | … | 8.02 | 2050 | <0.1 | <0.1 | 677 | 677 | 9 | 2 | 4.5 | 0.08 | 0.12 | 0.2
2025-12-05 | 2025-12-05 | 2025-12-15 |  | … | … | 8.48 | 2030 | <0.1 | <0.1 | 957 | 957 | 156 | 11 | 0.2 | 0.06 | 0.09 | 0.15
2026-05-12 | 2026-05-13 | 2026-05-22 |  | … | … | 7.91 | 2160 | <0.1 | <0.1 | 793 | 793 | 1270 | 45 | 1.2 | <0.01 | 0.1 | 0.1
2026-06-22 | 2026-06-23 | 2026-06-30 |  | … | … | 7.98 | 1930 | <0.1 | <0.1 | 666 | 666 | 7 | <2 | 1.9 | 0.06 | 0.08 | 0.13
`
|  |  | Min | 0 | 0 | 7.91 | 1930 | 0 | 0 | 666 | 666 | 7 | 2 | 0.2 | 0.06 | 0.08 | 0.1
|  |  | Max | 0 | 0 | 8.48 | 2160 | 0 | 0 | 957 | 957 | 1270 | 45 | 4.5 | 0.08 | 0.12 | 0.2
|  |  | Mean | #DIV/0! | #DIV/0! | 8.0975 | 2042.5 | #DIV/0! | #DIV/0! | 773.25 | 773.25 | 360.5 | 19.3333 | 1.95 | 0.066667 | 0.0975 | 0.145

## VICT BORE 1
Licence point- Young Landfills- VICT BORE 1
EPA licence number: |  | 5916 | Sample ID: YVICTB01
Reporting year:2025-2026
|  |  |  | Depth to water level | Depth to water level sampling | pH | Electrical conductivity | Hydroxide Alkalinity as CaCO3 | Carbonate Alkalinity as CaCO3 | Bicarbonate Alkalinity as CaCO3 | Total Alkalinity as CaCO3 | Suspended Solids | Biochemical Oxygen Demend | Ammonia as N | Nitrate as N | Ø Nitrate as N | Nitrite + Nitrate as N
|  |  | Units of measure | m | m | pH unit | µS/cm | mg/L | mg/L | mg/L | mg/L | mg/L | mg/L | mg/L N | mh/L N | mh/L N | mh/L N
Sample date | Analysis date | Results issued date
2025-09-10 | 2025-09-10 | 2025-09-17 |  | 11.3 | 11.4 | 6.7 | 3170 | <0.1 | <0.1 | 654 | 654 | 11 | <2 | <0.1 | <0.01 | 0.06 | 0.06
2025-12-03 | 2025-12-04 | 2025-12-12 |  | 11.4 | 11.6 | 6.75 | 2570 | <0.1 | <0.1 | 663 | 663 | 7 | <2 | <0.1 | <0.01 | 0.12 | 0.12
2026-05-12 | 2026-05-13 | 2026-05-22 |  | 11.5 | 11.8 | 6.73 | 3280 | <0.1 | <0.1 | 674 | 674 | 7 | <2 | <0.1 | <0.01 | 0.14 | 0.14
2026-06-22 | 2026-06-23 | 2026-06-30 |  | 11.3 | 11.5 | 6.52 | 3720 | <0.1 | <0.1 | 698 | 698 | 7 | <2 | <0.1 | <0.01 | <0.05 | <0.05
|  |  | Min | 11.3 | 11.4 | 6.52 | 2570 | 0 | 0 | 654 | 654 | 7 | 0 | 0 | 0 | 0.06 | 0.06
|  |  | Max | 11.5 | 11.8 | 6.75 | 3720 | 0 | 0 | 698 | 698 | 11 | 0 | 0 | 0 | 0.14 | 0.14
|  |  | Mean | 11.375 | 11.575 | 6.675 | 3185 | #DIV/0! | #DIV/0! | 672.25 | 672.25 | 8 | #DIV/0! | #DIV/0! | #DIV/0! | 0.10667 | 0.10667

## VICT BORE 2
Licence point- Young Landfills- VICT BORE 2
EPA licence number: |  | 5916 | Sample ID: YVICTB02
Reporting year:2025-2026
|  |  |  | Depth to water level | Depth to water level sampling | pH | Electrical conductivity | Hydroxide Alkalinity as CaCO3 | Carbonate Alkalinity as CaCO3 | Bicarbonate Alkalinity as CaCO3 | Total Alkalinity as CaCO3 | Suspended Solids | Biochemical Oxygen Demend | Ammonia as N | Nitrate as N | Ø Nitrate as N | Nitrite + Nitrate as N
|  |  | Units of measure | m | m | pH unit | µS/cm | mg/L | mg/L | mg/L | mg/L | mg/L | mg/L | mg/L N | mh/L N | mh/L N | mh/L N
Sample date | Analysis date | Results issued date
2025-09-10 | 2025-09-10 | 2025-09-17 |  | 6.48 | 6.73 | 7.07 | 1030 | <0.1 | <0.1 | 292 | 292 | 52 | <2 | <0.1 | <0.01 | <0.05 | <0.05
2025-12-03 | 2025-12-04 | 2025-12-12 |  | 6.36 | 6.66 | 6.99 | 1010 | <0.1 | <0.1 | 282 | 282 | 54 | <2 | <0.1 | <0.01 | 0.12 | 0.12
2026-05-12 | 2026-05-13 | 2026-05-22 |  | 6.55 | 6.95 | 7.23 | 1140 | <0.1 | <0.1 | 324 | 324 | 8 | <2 | <0.1 | <0.01 | 0.09 | 0.09
2026-06-22 | 2026-06-23 | 2026-06-30 |  | 6.29 | 6.87 | 7.14 | 1120 | <0.1 | <0.1 | 338 | 338 | 18 | <2 | <0.1 | <0.01 | <0.05 | <0.05
|  |  | Min | 6.29 | 6.66 | 6.99 | 1010 | 0 | 0 | 282 | 282 | 8 | 0 | 0 | 0 | 0.09 | 0.09
|  |  | Max | 6.55 | 6.95 | 7.23 | 1140 | 0 | 0 | 338 | 338 | 54 | 0 | 0 | 0 | 0.12 | 0.12
|  |  | Mean | 6.42 | 6.8025 | 7.1075 | 1075 | #DIV/0! | #DIV/0! | 309 | 309 | 33 | #DIV/0! | #DIV/0! | #DIV/0! | 0.105 | 0.105

## VICT BORE 3
Licence point- Young Landfills- VICT BORE 3
EPA licence number: |  | 5916 | Sample ID: YVICTB03
Reporting year:2025-2026
|  |  |  | Depth to water level | Depth to water level sampling | pH | Electrical conductivity | Hydroxide Alkalinity as CaCO3 | Carbonate Alkalinity as CaCO3 | Bicarbonate Alkalinity as CaCO3 | Total Alkalinity as CaCO3 | Suspended Solids | Biochemical Oxygen Demend | Ammonia as N | Nitrate as N | Ø Nitrate as N | Nitrite + Nitrate as N
|  |  | Units of measure | m | m | pH unit | µS/cm | mg/L | mg/L | mg/L | mg/L | mg/L | mg/L | mg/L N | mh/L N | mh/L N | mh/L N
Sample date | Analysis date | Results issued date
2025-09-10 | 2025-09-10 | 2025-09-17 |  | 7.24 | 7.95 | 6.93 | 2170 | <0.1 | <0.1 | 355 | 355 | 9 | <2 | 0.1 | 0.14 | 31.7 | 31.8
2025-12-03 | 2025-12-04 | 2025-12-12 |  | 7.4 | 8.17 | 6.78 | 1750 | <0.1 | <0.1 | 370 | 370 | 12 | <2 | 0.2 | 0.02 | 24 | 24
2026-05-12 | 2026-05-13 | 2026-05-22 |  | 7.45 | 7.78 | 7.06 | 2200 | <0.1 | <0.1 | 392 | 392 | 10 | <2 | 0.2 | 0.07 | 25.2 | 25.2
2026-06-22 | 2026-06-23 | 2026-06-30 |  | 7.37 | 8.1 | 6.95 | 2210 | <0.1 | <0.1 | 543 | 543 | 8 | <2 | <0.1 | 0.06 | 31.6 | 31.7
|  |  | Min | 7.24 | 7.78 | 6.78 | 1750 | 0 | 0 | 355 | 355 | 8 | 0 | 0.1 | 0.02 | 24 | 24
|  |  | Max | 7.45 | 8.17 | 7.06 | 2210 | 0 | 0 | 543 | 543 | 12 | 0 | 0.2 | 0.14 | 31.7 | 31.8
|  |  | Mean | 7.365 | 8 | 6.93 | 2082.5 | #DIV/0! | #DIV/0! | 415 | 415 | 9.75 | #DIV/0! | 0.16667 | 0.0725 | 28.125 | 28.175

## LEACHATE DAM 1
Licence point- Young Landfills- LEACHATE DAM1
EPA licence number: |  |  | Sample ID: YVICTLD01
Reporting year:2025-2026
|  |  |  | Depth to water level | Depth to water level sampling | pH | Electrical conductivity | Hydroxide Alkalinity as CaCO3 | Carbonate Alkalinity as CaCO3 | Bicarbonate Alkalinity as CaCO3 | Total Alkalinity as CaCO3 | Suspended Solids | Biochemical Oxygen Demend | Ammonia as N | Nitrate as N | Ø Nitrate as N | Nitrite + Nitrate as N
|  |  | Units of measure | m | m | pH unit | µS/cm | mg/L | mg/L | mg/L | mg/L | mg/L | mg/L | mg/L N | mh/L N | mh/L N | mh/L N
Sample date | Analysis date | Results issued date
2025-09-10 | 2025-09-10 | 2025-09-17 |  |  |  | 7.15 | 952 | <0.1 | <0.1 | 164 | 164 | 8 | <2 | 1.3 | 0.02 | <0.05 | <0.05
2025-12-03 | 2025-12-04 | 2025-12-12 |  |  |  | 8.62 | 797 | <0.1 | 15.9 | 151 | 167 | 42 | 9 | <0.1 | <0.01 | <0.05 | <0.05
2026-05-12 | 2026-05-13 | 2026-05-22 |  |  |  | 7.01 | 721 | <0.1 | <0.1 | 141 | 141 | 59 | 9 | <0.1 | 0.03 | <0.05 | <0.05
2026-06-22 | 2026-06-23 | 2026-06-30
|  |  | Min | 0 | 0 | 7.01 | 721 | 0 | 15.9 | 141 | 141 | 8 | 9 | 1.3 | 0.02 | 0 | 0
|  |  | Max | 0 | 0 | 8.62 | 952 | 0 | 15.9 | 164 | 167 | 59 | 9 | 1.3 | 0.03 | 0 | 0
|  |  | Mean | #DIV/0! | #DIV/0! | 7.5933 | 823.3333 | #DIV/0! | 15.9 | 152 | 157.3333 | 36.3333 | 9 | 1.3 | 0.025 | #DIV/0! | #DIV/0!