## point 10 ds
Licence point 10 - Environmental monitoring 500m downstream of outlet of pipe from sewage treatment plant discharging to Burrangong Creek
EPA licence number: 1624 | [8 empty] | Sampling Frequency: Monthly
Young Sewerage Scheme | [8 empty] | Sampling Method: Grab sample
Reporting year 2026-2027 | [8 empty] | Requirement to monitor concentration of pollutants discharged as per Licence Condition M2.1
|  |  | Pollutant | pH | Total Suspended Solid (TSS) | Oil and Grease (O&G) | Biological Oxygen Demand (BOD) | Ammonia as Nitrogen (NH3-N) | Total Nitrogen (TN) | Total Phosporus (TP) | Faecal Coliforms (FC)
|  |  | Units of measure | - | mg/L | mg/L | mg/L | mg/L | mg/L | mg/L | CFU/100ml
Sample date | Date results obtained | Date results published | [9 empty] | Comments
2026-07-13 | 2026-07-22 | 2026-09-02 |  | 7.82 | 17 | <1 | <2 | <0.1 | 1.01 | 0.06 | 175
2026-08-13 | 2026-08-21 | 2026-09-02 |  | 8.01 | 12 | <1 | <2 | <0.1 | 1 | 0.07 | 192
|  |  | Min | 7.82 | 12 | 0 | 0 | 0 | 1 | 0.06 | 175
|  |  | Max | 8.01 | 17 | 0 | 0 | 0 | 1.01 | 0.07 | 192
|  |  | Mean | 7.915 | 14.5 | #DIV/0! | #DIV/0! | #DIV/0! | 1.005 | 0.065 | 183.5