## point 3 discharge
Licence point 3 - Final treated effluent quality monitoring before discharge to waterways (Burrangong Creek via flume)
EPA licence number: 1624 | [8 empty] | Sampling frequency: Monthly
Young Sewerage Scheme | [8 empty] | Sampling method: Grab sample
Reporting year: 2026-2027 | [8 empty] | Requirement to monitor concentration of pollutants discharged as per Licence Condition M2.1
|  |  | Pollutant | pH | Total Suspended Solid (TSS) | Oil and Grease (O&G) | Biological Oxygen Demand (BOD) | Ammonia as Nitrogen (NH3-N) | Total Nitrogen (TN) | Total Phosporus (TP) | Faecal Coliforms (FC) | Salinity
|  |  | Units of measure | - | mg/L | mg/L | mg/L | mg/L | mg/L | mg/L | CFU/100mL | uS/cm
|  |  | 100 % Licence Limit | 6.5-8.5 | 20 | 10 | 15 | 5 | 15 | 1 | 600 | NA
|  |  | 90% Licence Limit |  | 15 | 2 | 10 | 2 | 10 | 0.5 | 200
Sample date | Date results obtained | Date results published | [10 empty] | Comments
2026-07-13 | 2026-07-22 | 2026-09-02 |  | 7.24 | 3 | <1 | <2 | 0.2 | 2.67 | 0.09 | <1
2026-08-13 | 2026-08-21 | 2026-09-02 |  | 7.48 | 3 | <1 | <2 | 0.2 | 2.22 | 0.14 | 4
|  |  | Min | 7.24 | 3 | 0 | 0 | 0.2 | 2.22 | 0.09 | 4
|  |  | Max | 7.48 | 3 | 0 | 0 | 0.2 | 2.67 | 0.14 | 4
|  |  | Mean | 7.36 | 3 | #DIV/0! | #DIV/0! | 0.2 | 2.445 | 0.115 | 4
`